## PROPOSAL SUMMARY
PROPOSAL SUMMARY
DISTRIBUTION LINE CONSTRUCTION
| Line Change New Construction | 250025.91
Part LCN | Part LCN
| Line Removals | 0
Part LCR | Part LCR
| Trenching & Boring | 0
Part UR
| Stormwater Pollution Prevention Plan | 0
SWPPP
| TOTAL | 250025.91

## REMOVAL UNITS
Part LCR - REMOVAL CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | LABOR
NO. | UNITS | Unit Price | Extended Price
1/0 TRI | 466
1/0-25KV | 228
1/0-35KV | 58
2 TRI | 1072
2-15KV | 51
2/0 TRI | 8
20-5 | 5
25-5 | 2
25-6 | 1
30-5 | 8
35-5 | 9
4 ACSR | 4478
4 TRI | 384
40-3 | 1
40-5 | 17
45-5 | 3
55-4 | 1
6HDC | 40161
A1-1A | 1
A1A | 2
A2 | 1
A3 | 2
A4 | 1
A5-1 | 1
A7X | 1
CT METER 1PH_OVH | 1
E1-1 | 14
E1-2 | 35
E1-2LT | 1
E1-3-2P | 1
E1EHS | 1
E2-2 | 4
E3-10 | 35
F1-2 | 1
F1-2P | 45
G1.10.1.1 | 4
G1.15.1.1 | 12
G1.25.1.1 | 12
G1.25.1.2 | 1
G1.37.1.1 | 1
G1.37.1.2 | 1
G1.4 | 1
G1.4X | 1
G1.5 | 1
G105 | 35
G106 | 4
J10 | 5
J8 | 2
K11C | 22
M2-11 | 24
M26-5 | 1
M5-15 | 1
M5-23X-12' | 6
M5-5N | 7
M5-6MOV | 1
R1.4.3 | 2
UA1 | 2
UA1FG | 1
UM5 | 2
UM6-1 | 4
VA1 | 1
VA1A | 4
VA2 | 5
VA3 | 2
VA5 | 5
VA5-1 | 4
VA7 | 2
VA7-1 | 1
VA7C-5 | 2
VA7X | 8
VA8C-5 | 1
VA8X | 4
VA9 | 3
VA9-1X | 16
VA9X | 15
VG1.10.1.1 | 1
VG1.15.1.1 | 4
VG1.15.1.2 | 2
VG1.25.1.1 | 4
VG1.25.1.2 | 2
VG1.37.1.2 | 3
VG1.4 | 3
VG1.4X | 1
VG1.50.1.2 | 1
VG106 | 1
VM3-10X | 1
VM33-1 | 3
VM33-2 | 2
VM5-4 | 2
VM5-5 | 16
VM5-6MOV | 2
VM5-9F | 1
VM5-9FTRANS | 8
VM5-9S | 3
VUA1FG | 3
|  | TOTAL | 0

## TABLES A & B
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE A. Unit Material Values of LCR Units Chargeable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 4 | 357.51 | 1430.04
G1.15.1.1 | 12 | 599.68 | 7196.16
G1.25.1.1 | 12 | 639.54 | 7674.48
G1.25.1.2 | 1 | 848.36 | 848.36
G1.37.1.1 | 1 | 806.21 | 806.21
G1.37.1.2 | 1 | 1020.08 | 1020.08
VG1.10.1.1 | 1 | 790 | 790
VG1.15.1.1 | 4 | 904.1 | 3616.4
VG1.15.1.2 | 2 | 829.96 | 1659.92
VG1.25.1.1 | 4 | 687.75 | 2751
VG1.25.1.2 | 2 | 954.37 | 1908.74
VG1.37.1.2 | 3 | 1155.57 | 3466.71
VG1.50.1.2 | 1 | 1376.75 | 1376.75
R1.4.3 | 2 | 2811 | 5622
Note: (Put Transformer, Recloser, Conductor and Big Salvageable items in this table with costs)
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE B. Values of Unit Material Items of Creditable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 4 | 357.51 | 1430.04
G1.15.1.1 | 12 | 599.68 | 7196.16
G1.25.1.1 | 12 | 639.54 | 7674.48
G1.25.1.2 | 1 | 848.36 | 848.36
G1.37.1.1 | 1 | 806.21 | 806.21
G1.37.1.2 | 1 | 1020.08 | 1020.08
VG1.10.1.1 | 1 | 790 | 790
VG1.15.1.1 | 4 | 904.1 | 3616.4
VG1.15.1.2 | 2 | 829.96 | 1659.92
VG1.25.1.1 | 4 | 687.75 | 2751
VG1.25.1.2 | 2 | 954.37 | 1908.74
VG1.37.1.2 | 3 | 1155.57 | 3466.71
VG1.50.1.2 | 1 | 1376.75 | 1376.75
R1.4.3 | 2 | 2811 | 5622
Note: (Generally is the same as Table A but could be different)

## Part UR
UNIT | KEC NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS (ft)* | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
UR 2-S (40” x 24”) | 18496 |  | 0 | 0 | 0 | 0
UR 2-R (40” x 12”) | 3040 |  | 0 | 0 | 0 | 0
UR2-RS |  |  | 0 | 0 | 0 | 0
UR5-P (40") |  |  | 0 | 0 | 0 | 0
UR7-B (2") | 195 |  | 0 | 0 | 0 | 0
UR7-B (3") |  |  | 0 | 0 | 0 | 0
TOTAL Part UR--Underground Excavation Construction Assembly Units | [5 empty] | 0
Contractor to provide 2 and 3 inch Red or Grey Poly Schedule 40 Conduit plus associated couplers for boring units in bid, see NEW CONST UNITS tab.

## Part LCN - Not Explicit
The following descriptioons apply only to those new units not sufficiently explicit:
Unit | Description
1/0-25KV | 1/0 AL, 260 MIL JACKETED POWER CABLE
1/0-35KV | PRIMARY CONDUCTOR, 1 STR-35KV (URD)
2-15KV | PRIMARY CONDUCTOR, 2-15KV (URD)
350 URD | 350 kCM AL TRIPLEX, 600 VOLT UNDERGROUND SERVICE CABLE
4/0 URD | 4/0 AL QUADROPLEXED, 600 VOLT UNDERGROUND SERVICE CABLE
1/0 TRI | SEC OVH CONDUCTOR 1/0 TRI
2/0 TRI | SEC OVH CONDUCTOR 2/0 TRI
2 TRI | SEC OVH CONDUCTOR 2 TRI
4 TRI | SEC OVH CONDUCTOR 4 TRI
4ACSR | PRI OVH CONDUCTOR 4 ACSR
6HDC | N0. 6 HARD DRAWN COPPER WIRE
20-5 | TREATED WOOD POLE, 20 FOOT CLASS 5
25-5 | TREATED WOOD POLE, 25 FOOT CLASS 5
25-6 | TREATED WOOD POLE, 25 FOOT CLASS 6
30-5 | TREATED WOOD POLE, 30 FOOT CLASS 5
35-5 | TREATED WOOD POLE, 35 FOOT CLASS 5
40-3 | TREATED WOOD POLE, 40 FOOT CLASS 3
40-5 | TREATED WOOD POLE, 40 FOOT CLASS 5
45-5 | TREATED WOOD POLE, 45 FOOT CLASS 5
55-4 | TREATED WOOD POLE, 55 FOOT CLASS 4
F15S | FUSE, 15AMP STANDARD
F20S | FUSE, 20AMP STANDARD
F40S | FUSE, 40AMP STANDARD
F20-CL-UG | FUSE, 20 AMP CURRENT LIMITING UG
M26-5 | MV LIGHT KIT
PVC-2 | CONDUIT, 2 INCH PVC, SCHEDULE 40, GREY
PVC-2SWEEP | CONDUIT SWEEP, 2 INCH PVC, SCHEDULE 40, GREY
PVC-3 | CONDUIT, 3 INCH PVC, SCHEDULE 40, GREY
PVC-3SWEEP | CONDUIT SWEEP, 3 INCH PVC, SCHEDULE 40, GREY
UM1-4 | HILL SIDE BARRIER
G1.10.1.1 | Single Voltage 10kVA Pole Mount Transformer
G1.15.1.1 | Single Voltage 15kVA Pole Mount Transformer
G1.25.1.1 | Single Voltage 25 kVA Pole Mount Transformer
G1.25.1.2 | Single Volage 25kVA Pole Mount Transformer
G1.37.1.1 | Single Voltage 37kVA Pole Mount Transformer
G1.37.1.2 | Single Voltage 37kVA Pole Mount Transformer
VG.1.10.1.1 | Dual Volltage 10kVA Pole Mount Transformer
VG1.15.1.1 | Dual Voltage 15kVA Pole Mount Transformer
VG1.15.1.2 | Dual Voltage 15kVA Pole Mount Transformer
VG1.25.1.1 | Dual Voltage 25 kVA Pole Mount Transformer
VG1.25.1.2 | Dual Voltage 25 kVA Pole Mount Transformer
VG1.37.1.2 | Dual Voltage 37 kVA Pole Mount Transformer
VG1.50.1.2 | Dual Voltage 50kVA Pole Mount Transformer
VUG1.15.1.9 | Dual Voltage 15kVA Padmount Transformer
VUG1.25.1.9 | Dual Voltage 25 kVA Padmount Transformer
VUG1.37.1.9 | Dual Voltage 37 kVA Padmount Transformer
VUG1.50.1.9 | Dual Voltage 50 kVA Padmount Transformer
R1.4.3 | OCR 35AMP 15KV TYPE L

## NEW CONST UNITS
PART LCN --NEW CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
1/0 TRI | 253 |  |  | 0.85 | 0.85 | 215.05
1/0-25KV | 23310 |  |  | 2.27 | 2.27 | 52913.7
2 TRI | 555 |  |  | 0.64 | 0.64 | 355.2
30-5 | 15 |  |  | 305.28 | 305.28 | 4579.2
35-5 | 2 |  |  | 381.88 | 381.88 | 763.76
350 URD | 3405 |  |  | 2.36 | 2.36 | 8035.8
4 ACSR | 7800 |  |  | 0.12 | 0.12 | 936
4/0 URD | 900 |  |  | 1.48 | 1.48 | 1332
CT METER 1PH_URD | 1 |  |  | 858.57 | 858.57 | 858.57
E1-2 | 10 |  |  | 44.12 | 44.12 | 441.2
E1EHS | 6 |  |  | 33.48 | 33.48 | 200.88
E3-10 | 16 |  |  | 5 | 5 | 80
F1-2P | 14 |  |  | 43.98 | 43.98 | 615.72
F20-CL-UG | 11 |  |  | 251 | 251 | 2761
F20S | 1 |  |  | 5.5 | 5.5 | 5.5
F40S | 2 |  |  | 5.75 | 5.75 | 11.5
F5-3 | 1 |  |  | 23.17 | 23.17 | 23.17
F7-1K | 6 |  |  | 55.12 | 55.12 | 330.72
G1.4X | 1 |  |  | 12.32 | 12.32 | 12.32
G1.6 | 1 |  |  | 12.32 | 12.32 | 12.32
J10 | 3 |  |  | 8.62 | 8.62 | 25.86
J6 | 2 |  |  | 9.1 | 9.1 | 18.2
K11C | 25 |  |  | 8.32 | 8.32 | 208
M5-15 | 1 |  |  | 40.11 | 40.11 | 40.11
M5-23X-12' | 10 |  |  | 48.15 | 48.15 | 481.5
M5-27 | 36 |  |  | 8.84 | 8.84 | 318.24
M6-4 | 15 |  |  | 224.19 | 224.19 | 3362.85
PVC-2 | 21242 |  |  | 0.74 | 0.74 | 15719.08
PVC-2SWEEP | 169 |  |  | 4.27 | 4.27 | 721.63
PVC-3 | 1510 |  |  | 0.74 | 0.74 | 1117.4
PVC-3SWEEP | 92 |  |  | 10.17 | 10.17 | 935.64
UG7 | 6 |  |  | 94.68 | 94.68 | 568.08
UG7X | 41 |  |  | 98.19 | 98.19 | 4025.79
UJ2-4 | 135 |  |  | 7.88 | 7.88 | 1063.8
UJ2-6 | 6 |  |  | 7.88 | 7.88 | 47.28
UK5LC | 1 |  |  | 197.91 | 197.91 | 197.91
UM1-4 | 4 |  |  | 362.43 | 362.43 | 1449.72
UM1-7-1X | 15 |  |  | 258.87 | 258.87 | 3883.05
UM1-7-2 | 1 |  |  | 315.27 | 315.27 | 315.27
UM1-7NC | 3 |  |  | 314.34 | 314.34 | 943.02
UM1-7NCX | 44 |  |  | 212.03 | 212.03 | 9329.32
UM3-14V | 1 |  |  | 681.17 | 681.17 | 681.17
UM3-14X | 15 |  |  | 440.08 | 440.08 | 6601.2
UM5 | 52 |  |  | 94.28 | 94.28 | 4902.56
UM6-1 | 39 |  |  | 42.38 | 42.38 | 1652.82
UM6-10 | 25 |  |  | 38.87 | 38.87 | 971.75
UM6-4 | 60 |  |  | 196.57 | 196.57 | 11794.2
UM6-5 | 2 |  |  | 210 | 210 | 420
VA7C-5 | 7 |  |  | 180.92 | 180.92 | 1266.44
VG1.37.1.2 | 1 |  |  | 1155.57 | 1155.57 | 1155.57
VG1.50.1.2 | 1 |  |  | 1373.19 | 1373.19 | 1373.19
VM5-20 | 4 |  |  | 30 | 30 | 120
VM5-20E | 3 |  |  | 15.08 | 15.08 | 45.24
VM5-9F | 1 |  |  | 115.23 | 115.23 | 115.23
VM5-9FTRANS | 2 |  |  | 115.23 | 115.23 | 230.46
VUA1FG | 2 |  |  | 377.64 | 377.64 | 755.28
VUA2 | 4 |  |  | 348.31 | 348.31 | 1393.24
VUB1FG | 1 |  |  | 765.2 | 765.2 | 765.2
VUG1.15.1.9 | 14 |  |  | 1688.92 | 1688.92 | 23644.88
VUG1.25.1.9 | 19 |  |  | 1804.23 | 1804.23 | 34280.37
VUG1.37.1.9 | 12 |  |  | 2000.22 | 2000.22 | 24002.64
VUG1.50.1.9 | 2 |  |  | 2220.7 | 2220.7 | 4441.4
VUM6-2 | 11 |  |  | 550.85 | 550.85 | 6059.35
VUM6-22 | 17 |  |  | 241.08 | 241.08 | 4098.36
[5 empty] | TOTAL | 250025.91

## SWPPP
STORMWATER POLLUTION PREVENTION PLAN (SWPPP)
Unit | Description | Unit Qty | Contractor Qty | Materials | Labor | Labor & Materials | Extended Price
BMP-35 | Fiber Roll | 1 foot | 500 |  |  | 0 | 0
BMP-36 | Silt Fence | 1 foot | 500 |  |  | 0 | 0
SWPPP | Balance of SWPPP | 1 lot | 1 |  |  | 0 | 0
Total | [6 empty] | 0

## Owner Furnished Material
OWNER FURNISHED MATERIALS LIST
ITEM | DESCRIPTION | QTY | UNIT | PRICE EA | EXTENDED
20300 | BOLT EYE 5/8" | 2 | EA | 1.04 | 2.08
20340 | BOLT, MACHINE 1/2" | 8 | EA | 1.1 | 8.8
20350 | BOLT MACHINE 5/8" | 107 | EA | 1.04 | 111.28
20700 | BRACKET, "L" SHAPED | 4 | EA | 9.3 | 37.2
20800 | BRACKET, STANDOFF W/STRAPS | 236 | EA | 16.5 | 3894
20900 | CLAMP, GROUND ROD | 63 | EA | 2.25 | 141.75
20940 | CLAMP, DEADEND LOOP (SECONDARY) | 2 | EA | 2.27 | 4.54
20950 | CLAMP, GUY BONDING | 16 | EA | 2.8 | 44.8
21000 | CLAMP, HOT LINE | 11 | EA | 8.44 | 92.84
21050 | CLAMP, WEDGE TUBE | 25 | EA | 1.49 | 37.25
21210 | CLEVIS, THIMBLE | 16 | EA | 13 | 208
21250 | CONNECTOR, SECONDARY | 141 | EA | 7.88 | 1111.08
21549 | CLAMP, DEADEND OR AUTO | 7 | EA | 6.85 | 47.95
21551 | DEADEND GUY (PREFORMED) | 32 | EA | 2.35 | 75.2
21554 | CLAMP, DEADEND PREFORMED | 7 | EA | 3 | 21
21652 | LOAD BREAK INSERT - DOUBLE | 2 | EA | 210 | 420
21767 | FUSE 20-AMP STANDARD | 1 | EA | 5.75 | 5.75
21770 | FUSE 40-AMP STANDARD | 2 | EA | 5.75 | 11.5
21800 | GUY GUARD | 16 | EA | 6.15 | 98.4
21902 | FUSE 20-AMP CURRENT LIMITING UG | 11 | EA | 251 | 2761
22050 | INSULATOR, SPOOL | 37 | EA | 1.24 | 45.88
22060 | J LAG | 7 | EA | 0.88 | 6.16
22300 | KELLUM | 8 | EA | 29.1 | 232.8
22660 | CT METER POST | 1 | EA |  | 0
22680 | CT METER URD ASSEMBLY | 1 | EA | 858.57 | 858.57
22750 | NUTS, EYE 5/8" | 4 | EA | 1.9 | 7.6
23000 | PVC-2 SWEEP 90Â° | 169 | EA | 4.27 | 721.63
23015 | PVC-3 SWEEP 90Â° | 92 | EA | 10.17 | 935.64
23195 | POLE TOP CAP | 36 | EA | 6 | 216
23800 | SCREW, LAG | 486 | EA | 0.75 | 364.5
23850 | SHACKLE, ANCHOR | 10 | EA | 6.49 | 64.9
24401 | WASHERS, SQUARE 2X2 | 2 | EA | 0.3 | 0.6
24410 | WASHERS, ROUND | 12 | FT | 0.37 | 4.44
24417 | WASHERS, CURVED 3X3 | 147 | EA | 0.9 | 132.3
26150 | WIRE, JUMPERS | 1372 | FT |  | 0
20100 | ANCHOR, PLATE 16" | 14 | EA | 20.8131 | 291.3834
20108 | ANCHOR, EXPANDING POLE KEY | 6 | EA | 55.12 | 330.72
20150 | ARRESTOR, LIGHTNING | 8 | EA | 49.0228 | 392.1824
20600 | BRACKET, FIBERGLASS ARM 1-PH | 3 | EA | 36.6747 | 110.0241
20610 | BRACKET, FIBERGLASS ARM 3-PH | 1 | EA | 151.316 | 151.316
21150 | CLEVIS, STATIONARY | 3 | EA | 5.4447 | 16.3341
21200 | CLEVIS, SWINGING | 34 | EA | 3.717 | 126.378
21351 | CROSSARM, 5' (COMPOSITE-DE) | 7 | EA | 144.3905 | 1010.7335
21450 | CUTOUT | 11 | EA | 106.7871 | 1174.6581
21500 | CULVERT (USED WITH PAD SHRUB/RR) | 44 | EA | 112.2077 | 4937.1388
21505 | CULVERT (LARGE SLEEVE-SHRUB) | 3 | EA | 319.5852 | 958.7556
21510 | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) | 44 | EA | 100.7325 | 4432.23
21530 | HILL SIDE BARRIER (ALL SIZES) | 4 | EA | 362.4322 | 1449.7288
21535 | GROUND SLEEVE (1-PH 200/600AMP MOD) | 15 | EA | 242.1312 | 3631.968
21540 | GND SLEEVE V-PH 200AMP MOD | 1 | EA | 315.2689 | 315.2689
21650 | ELBOW | 127 | EA | 49.5997 | 6299.1619
21657 | ELBOW, FUSED 25kv | 11 | EA | 550.8522 | 6059.3742
21670 | FAULT INDICATORS (URD-SMALL CORE) | 60 | EA | 185.5354 | 11132.124
21671 | FAULT INDICATORS (OVERHEAD) | 15 | EA | 240.6396 | 3609.594
21710 | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) | 10 | EA | 7.9522 | 79.522
22090 | INSULATOR, POLYMER (EPOXI) | 10 | EA | 15.0755 | 150.755
22100 | INSULATOR, SUSPENSIO | 12 | EA | 9.3658 | 112.3896
22150 | INSULATOR, STRAIN | 10 | EA | 41.6623 | 416.623
22200 | INSULATED CAPS | 31 | EA | 35.4165 | 1097.9115
22265 | JUNCTION 4-POS 25KV 200AMP | 17 | EA | 241.2122 | 4100.6074
22802 | MODULE 1-PH 200/600AMP | 15 | EA | 442.6821 | 6640.2315
22805 | MODULE V-PH 200AMP | 1 | EA | 667.7467 | 667.7467
23050 | PIPE, PVC | 24552 | FT | 0.8166 | 20049.1632
23360 | POLE 30-5 | 15 | EA | 305.28 | 4579.2
23410 | POLE 35-5 | 2 | EA | 381.878 | 763.756
23700 | ROD, ANCHOR PLATE | 15 | EA | 23.1667 | 347.5005
23750 | ROD, GROUND | 63 | EA | 12.9005 | 812.7315
24020 | SPLICE BOX -LG w/CONNECTORS (ABOVE GRD) | 1 | EA | 197.9132 | 197.9132
24250 | TERMINATOR | 8 | EA | 46.0856 | 368.6848
24600 | WIRE GUY 3/8" | 640 | FT | 0.3308 | 211.712
24750 | WIRE 4/0 URD TRI | 900 | FT | 1.4909 | 1341.81
24760 | WIRE 350 URD TRI | 3405 | FT | 2.3748 | 8086.194
25200 | WIRE 1/0 TRI (OVH) | 253 | FT | 0.8508 | 215.2524
25300 | WIRE #2 TRI (OVH) | 555 | FT | 0.639 | 354.645
25400 | WIRE 4 ACSR | 7800 | FT | 0.1163 | 907.14
26005 | WIRE 1/0 25KV 260ML URD | 23310 | FT | 2.2385 | 52179.435
5034 | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 | 14 | EA | 1688.9226 | 23644.9164
5064 | 37.5 DV 120/240 D/B 1PH OVH | 1 | EA | 1155.5705 | 1155.5705
5073 | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 | 19 | EA | 1804.2317 | 34280.4023
5074 | 37.5KVA DV 120/240 S/L FUSED 1PH URD FR3 | 12 | EA | 2000.22 | 24002.64
5081 | 50KVA DV 120/240 D/B 1PH OVH | 1 | EA | 1373.19 | 1373.19
5102 | 50KVA DV 120/240 S/L FUSED 1PH URD FR3 | 2 | EA | 2220.7 | 4441.4

## CONSTRUCTION PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-05-10 |  | 6:58 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16506 | [7 empty] | Description: |  | Cottonwood Bay Conversion |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 333 |  | Open Date: |  |  | 2016-10-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | CASEY WALTON |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Construction
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 2 | EA
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 8 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 107 | EA
E | * | 20700 | [6 empty] | BRACKET, "L" SHAPED |  |  | 4 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 236 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 63 | EA
E | * | 20940 | [6 empty] | CLAMP, DEADEND LOOP (SECONDARY) |  |  | 2 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 16 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 11 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 25 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 16 | EA
E | * | 21250 | [6 empty] | CONNECTOR, SECONDARY |  |  | 141 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 7 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 32 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 7 | EA
E | * | 21652 | [6 empty] | LOAD BREAK INSERT - DOUBLE |  |  | 2 | EA
E | * | 21767 | [6 empty] | FUSE 20-AMP STANDARD |  |  | 1 | EA
E | * | 21770 | [6 empty] | FUSE 40-AMP STANDARD |  |  | 2 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 16 | EA
E | * | 21902 | [6 empty] | FUSE 20-AMP CURRENT LIMITING UG |  |  | 11 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 37 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 7 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 8 | EA
E | * | 22660 | [6 empty] | CT METER POST |  |  | 1 | EA
E | * | 22680 | [6 empty] | CT METER URD ASSEMBLY |  |  | 1 | EA
E | * | 22750 | [6 empty] | NUTS, EYE 5/8" |  |  | 4 | EA
E | * | 23000 | [6 empty] | PVC-2 SWEEP 90° |  |  | 169 | EA
E | * | 23015 | [6 empty] | PVC-3 SWEEP 90° |  |  | 92 | EA
E | * | 23195 | [6 empty] | POLE TOP CAP |  |  | 36 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 486 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 10 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 2 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 12 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 147 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 1372 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 14 | EA
L | 20108 | [7 empty] | ANCHOR, EXPANDING POLE KEY |  |  | 6 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 8 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 3 | EA
L | 20610 | [7 empty] | BRACKET, FIBERGLASS ARM 3-PH |  |  | 1 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 3 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 34 | EA
L | 21351 | [7 empty] | CROSSARM, 5' (COMPOSITE-DE) |  |  | 7 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 11 | EA
L | 21500 | [7 empty] | CULVERT (USED WITH PAD SHRUB/RR) |  |  | 44 | EA
L | 21505 | [7 empty] | CULVERT (LARGE SLEEVE-SHRUB) |  |  | 3 | EA
L | 21510 | [7 empty] | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) |  |  | 44 | EA
L | 21530 | [7 empty] | HILL SIDE BARRIER (ALL SIZES) |  |  | 4 | EA
L | 21535 | [7 empty] | GROUND SLEEVE (1-PH 200/600AMP MOD) |  |  | 15 | EA
L | 21540 | [7 empty] | GND SLEEVE V-PH 200AMP MOD |  |  | 1 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 127 | EA
L | 21657 | [7 empty] | ELBOW, FUSED 25kv |  |  | 11 | EA
L | 21670 | [7 empty] | FAULT INDICATORS (URD-SMALL CORE) |  |  | 60 | EA
L | 21671 | [7 empty] | FAULT INDICATORS (OVERHEAD) |  |  | 15 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 10 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 10 | EA
L | 22100 | [7 empty] | INSULATOR, SUSPENSIO |  |  | 12 | EA
L | 22150 | [7 empty] | INSULATOR, STRAIN |  |  | 10 | EA
L | 22200 | [7 empty] | INSULATED CAPS |  |  | 31 | EA
L | 22265 | [7 empty] | JUNCTION 4-POS 25KV 200AMP |  |  | 17 | EA
L | 22802 | [7 empty] | MODULE 1-PH 200/600AMP |  |  | 15 | EA
L | 22805 | [7 empty] | MODULE V-PH 200AMP |  |  | 1 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 24552 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 15 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 2 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 15 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 63 | EA
L | 24020 | [7 empty] | SPLICE BOX -LG w/CONNECTORS (ABOVE GRD) |  |  | 1 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 8 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 640 | EA
L | 24750 | [7 empty] | WIRE 4/0 URD TRI |  |  | 900 | EA
L | 24760 | [7 empty] | WIRE 350 URD TRI |  |  | 3405 | EA
L | 25200 | [7 empty] | WIRE 1/0 TRI (OVH) |  |  | 253 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 555 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 7800 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 23310 | EA
S | 5034 | [7 empty] | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 14 | EA
S | 5064 | [7 empty] | 37.5 DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5073 | [7 empty] | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 19 | EA
S | 5074 | [7 empty] | 37.5KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 12 | EA
S | 5081 | [7 empty] | 50KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5102 | [7 empty] | 50KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 2 | EA
[10 empty] | Total Quantity For Construction: |  | 65178
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Construction | [7 empty] | 1/0 TRI - SEC. OVH CONDUCTOR, 1/0 TRI | [9 empty] | 253
[8 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 23310
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 555
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 15
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 2
[8 empty] | 350 URD - SEC. UG CABLE, 350 TRI | [9 empty] | 3405
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 7800
[8 empty] | 4/0 URD - SEC. UG CABLE, 4/0 TRI | [9 empty] | 900
[8 empty] | CT METER 1PH_URD - CT METER 1PH URD | [9 empty] | 1
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 10
[8 empty] | E1EHS - GUY WIRE 3/8 EXTRA HS | [9 empty] | 6
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 16
[8 empty] | F-SOLID - FUSE SOLID GATE | [9 empty] | 6
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 14
[8 empty] | F20-CL-UG - FUSE 20-AMP CURRENT LIMITING UG | [9 empty] | 11
[8 empty] | F20S - FUSE 20-AMP STANDARD | [9 empty] | 1
[8 empty] | F40S - FUSE 40-AMP STANDARD | [9 empty] | 2
[8 empty] | F5-3 - ROCK ANCHOR ASSEMBLY | [9 empty] | 1
[8 empty] | F7-1K - POLE KEY ANCHOR ASSEMBLY | [9 empty] | 6
[8 empty] | G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE | [9 empty] | 1
[8 empty] | G1.6 - 7.2KV 1-PH TRANS CONV @ VERT DE | [9 empty] | 1
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 3
[8 empty] | J6 - SEC ASSEMBLY (USE ON COPPER) | [9 empty] | 2
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 25
[8 empty] | LABOR-4 MAN - 4-MAN CREW EXTRA LABOR | [9 empty] | 1
[8 empty] | M5-15 - FIBERGLASS ARM 1-PHASE | [9 empty] | 1
[8 empty] | M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL) | [9 empty] | 10
[8 empty] | M5-27 - POLE TOP CAP | [9 empty] | 36
[8 empty] | M6-4 - FAULT INDICATOR (OVERHEAD) | [9 empty] | 15
[8 empty] | PVC-2 - PVC 2" | [9 empty] | 21242
[8 empty] | PVC-2SWEEP - PVC 2" SWEEP 90° | [9 empty] | 169
[8 empty] | PVC-3 - PVC 3" | [9 empty] | 1510
[8 empty] | PVC-3SWEEP - PVC 3" SWEEP 90° | [9 empty] | 92
[8 empty] | UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP | [9 empty] | 6
[8 empty] | UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS | [9 empty] | 41
[8 empty] | UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR | [9 empty] | 135
[8 empty] | UJ2-6 - SEC. CONNECTOR BLOCK | [9 empty] | 6
[8 empty] | UK5LC - SPLICE BOX LG/w connectors-ABOVE GROUND | [9 empty] | 1
[8 empty] | UM1-4 - HILL-SIDE BARRIER | [9 empty] | 4
[8 empty] | UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD | [9 empty] | 15
[8 empty] | UM1-7-2 - GROUND SLEEVE 2-PH 200AMP MOD | [9 empty] | 1
[8 empty] | UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large) | [9 empty] | 3
[8 empty] | UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR | [9 empty] | 44
[8 empty] | UM3-14V - 2-PH MODULE 200AMP (V-PHASE) | [9 empty] | 1
[8 empty] | UM3-14X - 1-PH MODULE 200/600AMP (large cabinet) | [9 empty] | 15
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 52
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 39
[8 empty] | UM6-10 - INSULATED PROTECTIVE CAP (200 A) | [9 empty] | 25
[8 empty] | UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500 | [9 empty] | 60
[8 empty] | UM6-5 - Y BUSHING (LOAD BREAK INSERT) | [9 empty] | 2
[8 empty] | UR2-R - TRENCHING ROCK | [9 empty] | 3040
[8 empty] | UR2-S - TRENCHING SOIL | [9 empty] | 18496
[8 empty] | UR7-B2 - BORING 2" | [9 empty] | 195
[8 empty] | VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE | [9 empty] | 7
[8 empty] | VG1.37.1.2 - DV OVH 37KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VG1.50.1.2 - DV OVH 50KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VM5-20 - 14.4KV PRI. ASSEMBLY | [9 empty] | 4
[8 empty] | VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR) | [9 empty] | 3
[8 empty] | VM5-9F - 14.4KV CUTOUT, FUSED | [9 empty] | 1
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 2
[8 empty] | VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM | [9 empty] | 2
[8 empty] | VUA2 - 1-PH 14.4 CBL TERM POLE-URD SOURCE | [9 empty] | 4
[8 empty] | VUB1FG - 2-PH 14.4KV CBL TERM W/CUTOUT & FG ARM | [9 empty] | 1
[8 empty] | VUG1.15.1.9 - DV URD 15KVA 120/240 S/L FR3 | [9 empty] | 14
[8 empty] | VUG1.25.1.9 - DV URD 25KVA 120/240 S/L FR3 | [9 empty] | 19
[8 empty] | VUG1.37.1.9 - DV URD 37KVA 120/240 S/L FR3 | [9 empty] | 12
[8 empty] | VUG1.50.1.9 - DV URD 50KVA 120/240 S/L FR3 | [9 empty] | 2
[8 empty] | VUM6-2 - PRI CBL TERM (FUSED ELBOW -25KV) | [9 empty] | 11
[8 empty] | VUM6-22 - JUNCTION 4-PO 200AMP 25KV | [9 empty] | 17

## RETIRMENT PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-05-10 |  | 7:00 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16506 | [7 empty] | Description: |  | Cottonwood Bay Conversion |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 333 |  | Open Date: |  |  | 2016-10-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | CASEY WALTON |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Retirement
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20200 | [6 empty] | BOLT, CARRIAGE |  |  | 168 | EA
E | * | 20250 | [6 empty] | BOLT D.A. 5/8" |  |  | 110 | EA
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 28 | EA
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 16 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 353 | EA
E | * | 20360 | [6 empty] | BOLT MACHINE 3/4" |  |  | 4 | EA
E | * | 20400 | [6 empty] | BOLT, UPSET |  |  | 3 | EA
E | * | 20500 | [6 empty] | BRACE, ALLEY ARM |  |  | 14 | EA
E | * | 20750 | [6 empty] | BRACKET, NEUTRAL OFF |  |  | 7 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 32 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 24 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 53 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 61 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 22 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 47 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 36 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 114 | EA
E | * | 21552 | [6 empty] | CLAMP, SUSPENSION ANGLE |  |  | 4 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 36 | EA
E | * | 21664 | [6 empty] | GUY ATTACHMENT (FROG) |  |  | 14 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 35 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 83 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 6 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 6 | EA
E | * | 22350 | [6 empty] | LAMP, BULB MV |  |  | 1 | EA
E | * | 22670 | [6 empty] | CT METER OVH ASSEMBLY |  |  | 1 | EA
E | * | 22750 | [6 empty] | NUTS, EYE 5/8" |  |  | 40 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 190 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 6 | EA
E | * | 24400 | [6 empty] | WASHERS, SQUARE |  |  | 24 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 531 | EA
E | * | 24402 | [6 empty] | WASHERS, SQUARE 3X3 |  |  | 3 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 22 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 296 | EA
E | * | 24418 | [6 empty] | WASHERS, CURVED 4X4 |  |  | 2 | EA
E | * | 25000 | [6 empty] | WIRE, 6 HDC |  |  | 40161 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 2740 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 46 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 10 | EA
L | 20550 | [7 empty] | BRACE CROSSARM 28" |  |  | 168 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 5 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 15 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 58 | EA
L | 21330 | [7 empty] | CROSSARM, 5' (WOOD) |  |  | 72 | EA
L | 21340 | [7 empty] | CROSSARM, 8' (WOOD) |  |  | 27 | EA
L | 21351 | [7 empty] | CROSSARM, 5' (COMPOSITE-DE) |  |  | 3 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 19 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 4 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 43 | EA
L | 21714 | [7 empty] | GUY ATTACH (DBLE CLYD - POLE EYE PLATE) |  |  | 1 | EA
L | 21716 | [7 empty] | GUY ATTACH (SMALL CLYD - LESS TEETH) |  |  | 1 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 92 | EA
L | 22000 | [7 empty] | INSULATOR, PIN TYPE 7.2 |  |  | 6 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 66 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 40 | EA
L | 22150 | [7 empty] | INSULATOR, STRAIN |  |  | 6 | EA
L | 22450 | [7 empty] | LAMP, MV KITS (ALL TYPES) |  |  | 1 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 135 | EA
L | 22910 | [7 empty] | PINS, CROSSARM SADDLE |  |  | 6 | EA
L | 22950 | [7 empty] | PINS, POLE TOP |  |  | 21 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 240 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 8 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 9 | EA
L | 23460 | [7 empty] | POLE 40-5 |  |  | 17 | EA
L | 23480 | [7 empty] | POLE 40-3 |  |  | 1 | EA
L | 23510 | [7 empty] | POLE 45-5 |  |  | 3 | EA
L | 23610 | [7 empty] | POLE 55-4 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 46 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 24 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 6 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 2420 | EA
L | 25200 | [7 empty] | WIRE 1/0 TRI (OVH) |  |  | 474 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 1072 | EA
L | 25310 | [7 empty] | WIRE #4 TRI (OVH) |  |  | 384 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 4478 | EA
L | 25800 | [7 empty] | WIRE 2-15KV (URD) |  |  | 51 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 228 | EA
L | 26010 | [7 empty] | WIRE 1/0 35KV 345ML URD |  |  | 58 | EA
S | 5004 | [7 empty] | 10KVA 7.2 120/240 CSP 1PH OVH |  |  | 4 | EA
S | 5010 | [7 empty] | 10KVA DV 120/240 CSP 1PH OVH |  |  | 1 | EA
S | 5015 | [7 empty] | 15KVA 7.2 120/240 CSP 1PH OVH |  |  | 12 | EA
S | 5024 | [7 empty] | 15KVA DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5035 | [7 empty] | 25KVA 7.2 120/240 CSP 1PH OVH |  |  | 12 | EA
S | 5036 | [7 empty] | 25KVA 7.2 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5043 | [7 empty] | 25KVA DV 120/240 CSP 1PH OVH |  |  | 4 | EA
S | 5044 | [7 empty] | 25KVA DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5055 | [7 empty] | 37.5KVA 7.2 120/240 CSP 1PH OVH |  |  | 1 | EA
S | 5056 | [7 empty] | 37.5KVA 7.2 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5064 | [7 empty] | 37.5 DV 120/240 D/B 1PH OVH |  |  | 3 | EA
S | 5081 | [7 empty] | 50KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 8009 | [7 empty] | OCR 35AMP 15KV L 1PH |  |  | 2 | EA
X | * | 5023-2 | [6 empty] | 15KVA DV 120/240 CSP 1PH OVH |  |  | 4 | EA
[10 empty] | Total Quantity For Retirement: |  | 55708
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Retirement | [7 empty] | 1/0 TRI - SEC. OVH CONDUCTOR, 1/0 TRI | [9 empty] | 466
[8 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 228
[8 empty] | 1/0-35KV - PRI. UG CABLE, 1/0 STR-35KV | [9 empty] | 58
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 1072
[8 empty] | 2-15KV - PRI. UG CABLE, 2STR-15KV | [9 empty] | 51
[8 empty] | 2/0 TRI - SEC. OVH CONDUCTOR, 2/0 TRI | [9 empty] | 8
[8 empty] | 20-5 - POLE, 20 FT CLASS 5 (RETIREMENT ONLY) | [9 empty] | 5
[8 empty] | 25-5 - POLE, 25 FT CLASS 5 (RETIRMENT ONLY) | [9 empty] | 2
[8 empty] | 25-6 - POLE, 25 FT CLASS 6 (RETIRMENT ONLY) | [9 empty] | 1
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 8
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 9
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 4478
[8 empty] | 4 TRI - SEC. OVH CONDUCTOR, 4 TRI | [9 empty] | 384
[8 empty] | 40-3 - POLE, 40 FT CLASS 3 | [9 empty] | 1
[8 empty] | 40-5 - POLE, 40 FT CLASS 5 | [9 empty] | 17
[8 empty] | 45-5 - POLE, 45 FT CLASS 5 (RETIREMENT ONLY) | [9 empty] | 3
[8 empty] | 55-4 - POLE, 55 FT CLASS 4 | [9 empty] | 1
[8 empty] | 6HDC - PRI. OVH CONDUCTOR, 6HDC | [9 empty] | 40161
[8 empty] | A1-1A - 7.2KV 1-PH DBLE PRI SUPPRT (RETIRE ONLY) | [9 empty] | 1
[8 empty] | A1A - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 2
[8 empty] | A2 - 7.2KV 1-PH DBLE PRI SUPPRT | [9 empty] | 1
[8 empty] | A3 - 7.2KV 1-PH PRI 20-60 ANGLE | [9 empty] | 2
[8 empty] | A4 - 7.2KV 1-PH PRI 60-90 ANGLE | [9 empty] | 1
[8 empty] | A5-1 - 7.2KV 1-PH PRI TAP | [9 empty] | 1
[8 empty] | A7X - 7.2KV 1-PH X-ARM 5' SNGLE DE | [9 empty] | 1
[8 empty] | CT METER 1PH_OVH - CT METER 1PH OVH | [9 empty] | 1
[8 empty] | E1-1 - 7.2KV SERV DOWN GUY (FROG) | [9 empty] | 14
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 35
[8 empty] | E1-2LT - 7.2KV SNGLE DOWN GUY LESS TEETH NON-WOOD | [9 empty] | 1
[8 empty] | E1-3-2P - 7.2KV DBLE DOWN GUY 3-PH HEAVY | [9 empty] | 1
[8 empty] | E1EHS - GUY WIRE 3/8 EXTRA HS | [9 empty] | 1
[8 empty] | E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE | [9 empty] | 4
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 35
[8 empty] | F1-2 - LINE ANCHOR ASSEMBLY (EXPANDING) | [9 empty] | 1
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 45
[8 empty] | G1.10.1.1 - 7200OVH 10KVA 120/240 CSP | [9 empty] | 4
[8 empty] | G1.15.1.1 - 7200OVH 15KVA 120/240 CSP | [9 empty] | 12
[8 empty] | G1.25.1.1 - 7200OVH 25KVA 120/40 CSP | [9 empty] | 12
[8 empty] | G1.25.1.2 - 7200OVH 25KVA 120/240 D/B | [9 empty] | 1
[8 empty] | G1.37.1.1 - 7200OVH 37KVA 120/240 CSP | [9 empty] | 1
[8 empty] | G1.37.1.2 - 7200OVH 37KVA 120/240 D/B | [9 empty] | 1
[8 empty] | G1.4 - 7.2KV 1-PH TRANS CONV @ HORZ TANGENT | [9 empty] | 1
[8 empty] | G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE | [9 empty] | 1
[8 empty] | G1.5 - 7.2KV 1-PH TRANS CONV @ VERT TANGENT | [9 empty] | 1
[8 empty] | G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT | [9 empty] | 35
[8 empty] | G106 - 7.2KV 1-PH TRNS CSP @ DEAD END | [9 empty] | 4
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 5
[8 empty] | J8 - SEC ASSEMBLY | [9 empty] | 2
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 22
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 24
[8 empty] | M26-5 - MV LIGHT KIT (ALL TYPES-RETIRE ONLY) | [9 empty] | 1
[8 empty] | M5-15 - FIBERGLASS ARM 1-PHASE | [9 empty] | 1
[8 empty] | M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL) | [9 empty] | 6
[8 empty] | M5-5N - PRI ASSEMBLY (WHITE GLASS & X-ARM PIN) | [9 empty] | 7
[8 empty] | M5-6MOV - PRI ASSEMBLY (MOV ARRESTOR) | [9 empty] | 1
[8 empty] | R1.4.3 - OCR 35AMP 15KV L | [9 empty] | 2
[8 empty] | UA1 - 1-PH CBL TERM POLE--CUTOUT (no arm) | [9 empty] | 2
[8 empty] | UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM | [9 empty] | 1
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 2
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 4
[8 empty] | VA1 - 14.4KV PRI. 1-PH SNGLE PRI. SUPPRT | [9 empty] | 1
[8 empty] | VA1A - 14.4KV 1-PH SNGLE PRI. SUPPRT | [9 empty] | 4
[8 empty] | VA2 - 14.4KV 1-PH DBLE PRI. SUPPRT 5-30 ANGLE | [9 empty] | 5
[8 empty] | VA3 - 14.4KV 1-PH 30-60 ANGLE | [9 empty] | 2
[8 empty] | VA5 - 14.4KV 1-PH D.E. (SNGLE) | [9 empty] | 5
[8 empty] | VA5-1 - 14.4KV 1-PH TAP | [9 empty] | 4
[8 empty] | VA7 - 14.4KV 1-PH X-ARM D.E. (SNGLE) | [9 empty] | 2
[8 empty] | VA7-1 - 14.4KV 1-PH X-ARM D.E. (SNGLE) | [9 empty] | 1
[8 empty] | VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE | [9 empty] | 2
[8 empty] | VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE) | [9 empty] | 8
[8 empty] | VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE | [9 empty] | 1
[8 empty] | VA8X - 14.4KV 1-PH X-ARM (5')( D.E. (DBLE) | [9 empty] | 4
[8 empty] | VA9 - 14.4KV 1-PH X-ARM DBLE LINE ARM | [9 empty] | 3
[8 empty] | VA9-1X - 14.4KV 1-PH X-ARM (5') SNGLE LINE ARM | [9 empty] | 16
[8 empty] | VA9X - 14.4KV 1-PH X-ARM (5')DBLE LINE ARM | [9 empty] | 15
[8 empty] | VG1.10.1.1 - DV OVH 10KVA 120/240 CSP | [9 empty] | 1
[8 empty] | VG1.15.1.1 - DV OVH 15KVA 120/240 CSP | [9 empty] | 4
[8 empty] | VG1.15.1.2 - DV OVH 15KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.25.1.1 - DV OVH 25KVA 120/240 CSP | [9 empty] | 4
[8 empty] | VG1.25.1.2 - DV OVH 25KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.37.1.2 - DV OVH 37KVA 120/240 D/B | [9 empty] | 3
[8 empty] | VG1.4 - 14.4KV 1-PH TRANS CONV @ HORZ TANGENT | [9 empty] | 3
[8 empty] | VG1.4X - 14.4KV 1-PH TRANS CONV @ HORZ D.E. | [9 empty] | 1
[8 empty] | VG1.50.1.2 - DV OVH 50KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VG106 - 14.4KV 1-PH TRNSFMR AT D.E. | [9 empty] | 1
[8 empty] | VM3-10X - 14.4KV 1 OCR (NO FG ARM) | [9 empty] | 1
[8 empty] | VM33-1 - 14.4KV SIDE ARM ASSY (SNGLE ARM, 1-PH) | [9 empty] | 3
[8 empty] | VM33-2 - 14.4KV SIDE ARM ASSY (DBLE ARM, 1-PH) | [9 empty] | 2
[8 empty] | VM5-4 - 14.4 PRI ASSEMBLY | [9 empty] | 2
[8 empty] | VM5-5 - 14.4KV PRI. ASSEMBLY | [9 empty] | 16
[8 empty] | VM5-6MOV - PRI ASSEMBLY (14.4 MOV ARRESTOR) | [9 empty] | 2
[8 empty] | VM5-9F - 14.4KV CUTOUT, FUSED | [9 empty] | 1
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 8
[8 empty] | VM5-9S - 14.4KV CUTOUT, SOLID | [9 empty] | 3
[8 empty] | VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM | [9 empty] | 3

## Assemblies
A1-1A - 7.2KV 1-PH DBLE PRI SUPPRT (RETIRE ONLY)
A1A - 7.2KV 1-PH SNGLE PRI SUPPRT
A2 - 7.2KV 1-PH DBLE PRI SUPPRT
A3 - 7.2KV 1-PH PRI 20-60 ANGLE
A4 - 7.2KV 1-PH PRI 60-90 ANGLE
A5-1 - 7.2KV 1-PH PRI TAP
A7X - 7.2KV 1-PH X-ARM 5' SNGLE DE
E1-1 - 7.2KV SERV DOWN GUY (FROG)
E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD)
E1-2LT - 7.2KV SNGLE DOWN GUY LESS TEETH NON-WOOD
E1-3-2P - 7.2KV DBLE DOWN GUY 3-PH HEAVY
E1EHS - GUY WIRE 3/8 EXTRA HS
E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE
E3-10 - GUY GUARD
F1-2 - LINE ANCHOR ASSEMBLY (EXPANDING)
F1-2P - PLATE ANCHOR 16"
F5-3 - ROCK ANCHOR ASSEMBLY
F7-1K - POLE KEY ANCHOR ASSEMBLY
G1.4 - 7.2KV 1-PH TRANS CONV @ HORZ TANGENT
G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE
G1.5 - 7.2KV 1-PH TRANS CONV @ VERT TANGENT
G1.6 - 7.2KV 1-PH TRANS CONV @ VERT DE
G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT
G106 - 7.2KV 1-PH TRNS CSP @ DEAD END
J10 - SEC ASSEMBLY (5 TO 60 DEGREE)
J6 - SEC ASSEMBLY (USE ON COPPER)
J8 - SEC ASSEMBLY
K11C - SERV ASSEMBLY
M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD
M26-5 - MV LIGHT KIT (ALL TYPES-RETIRE ONLY)
M5-15 - FIBERGLASS ARM 1-PHASE
M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL)
M5-27 - POLE TOP CAP
M5-5N - PRI ASSEMBLY (WHITE GLASS & X-ARM PIN)
M5-6MOV - PRI ASSEMBLY (MOV ARRESTOR)
M6-4 - FAULT INDICATOR (OVERHEAD)
UA1 - 1-PH CBL TERM POLE--CUTOUT (no arm)
UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM
UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP
UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS
UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR
UJ2-6 - SEC. CONNECTOR BLOCK
UK5LC - SPLICE BOX LG/w connectors-ABOVE GROUND
UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD
UM1-7-2 - GROUND SLEEVE 2-PH 200AMP MOD
UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large)
UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR
UM3-14V - 2-PH MODULE 200AMP (V-PHASE)
UM3-14X - 1-PH MODULE 200/600AMP (large cabinet)
UM5 - SECONDARY RISER
UM6-1 - PRI. CABLE TERMINATION-LOADBREAK
UM6-10 - INSULATED PROTECTIVE CAP (200 A)
UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500
UM6-5 - Y BUSHING (LOAD BREAK INSERT)
VA1 - 14.4KV PRI. 1-PH SNGLE PRI. SUPPRT
VA1A - 14.4KV 1-PH SNGLE PRI. SUPPRT
VA2 - 14.4KV 1-PH DBLE PRI. SUPPRT 5-30 ANGLE
VA3 - 14.4KV 1-PH 30-60 ANGLE
VA5 - 14.4KV 1-PH D.E. (SNGLE)
VA5-1 - 14.4KV 1-PH TAP
VA7 - 14.4KV 1-PH X-ARM D.E. (SNGLE)
VA7-1 - 14.4KV 1-PH X-ARM D.E. (SNGLE)
VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE
VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE)
VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE
VA8X - 14.4KV 1-PH X-ARM (5')( D.E. (DBLE)
VA9 - 14.4KV 1-PH X-ARM DBLE LINE ARM
VA9-1X - 14.4KV 1-PH X-ARM (5') SNGLE LINE ARM
VA9X - 14.4KV 1-PH X-ARM (5')DBLE LINE ARM
VG1.4 - 14.4KV 1-PH TRANS CONV @ HORZ TANGENT
VG1.4X - 14.4KV 1-PH TRANS CONV @ HORZ D.E.
VG106 - 14.4KV 1-PH TRNSFMR AT D.E.
VM3-10X - 14.4KV 1 OCR (NO FG ARM)
VM33-1 - 14.4KV SIDE ARM ASSY (SNGLE ARM, 1-PH)
VM33-2 - 14.4KV SIDE ARM ASSY (DBLE ARM, 1-PH)
VM5-20 - 14.4KV PRI. ASSEMBLY
VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR)
VM5-4 - 14.4 PRI ASSEMBLY
VM5-5 - 14.4KV PRI. ASSEMBLY
VM5-6MOV - PRI ASSEMBLY (14.4 MOV ARRESTOR)
VM5-9F - 14.4KV CUTOUT, FUSED
VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE
VM5-9S - 14.4KV CUTOUT, SOLID
VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM
VUA2 - 1-PH 14.4 CBL TERM POLE-URD SOURCE
VUB1FG - 2-PH 14.4KV CBL TERM W/CUTOUT & FG ARM
VUM6-2 - PRI CBL TERM (FUSED ELBOW -25KV)
VUM6-22 - JUNCTION 4-PO 200AMP 25KV