## PROPOSAL SUMMARY
PROPOSAL SUMMARY
DISTRIBUTION LINE CONSTRUCTION
| Line Change New Construction | 123821.05
Part LCN | Part LCN
| Line Removals | 0
Part LCR | Part LCR
| Trenching & Boring | 0
Part UR
| Stormwater Pollution Prevention Plan | 0
SWPPP
Historic Preservation Consultant
Consultant as detailed in Project Addendum #2
| TOTAL | 123821.05

## REMOVAL UNITS
Part LCR - REMOVAL CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | LABOR
NO. | UNITS | Unit Price | Extended Price
1/0 TRI | 651
2 TRI | 949
20-5 | 3
25-5 | 1
25-6 | 1
30-5 | 3
35-3 | 1
35-5 | 7
35-6 | 2
4 ACSR | 66
4 TRI | 276
40-5 | 8
40-6 | 2
45-4 | 1
45-5 | 1
55-4 | 1
6HDC | 12430
A1 | 3
A1A | 1
A3 | 1
A4 | 1
A8X | 3
A9-1X | 1
E1-1 | 19
E1-2 | 4
E3-10 | 10
F1-1P | 1
F1-2P | 17
G1.10.1.1 | 4
G1.15.1.1 | 1
G1.15.1.2 | 2
G1.25.1.1 | 1
G1.4 | 1
G105 | 8
G106 | 1
J10 | 9
K10 | 1
K11C | 14
M2-11 | 19
M2-12 | 3
M5-15 | 4
M5-5 | 2
M5-6MOV | 1
M5-9S | 1
R1.4.3 | 1
UA1 | 1
UA1FG | 1
UM5 | 5
UM6-10 | 1
VA1 | 5
VA1A | 1
VA2 | 1
VA3 | 2
VA4 | 3
VA5 | 2
VA5-1 | 2
VA5-3 | 1
VA5-4 | 1
VA7X | 1
VA8 | 1
VA8X | 1
VA9-1C-5 | 1
VA9-1X | 3
VA9X | 1
VG1.15.1.1 | 4
VG1.15.1.2 | 1
VG1.25.1.1 | 1
VG1.25.1.2 | 1
VG1.37.1.2 | 2
VG1.50.1.2 | 2
VG1.75.1.2 | 2
VM5-10 | 1
VM5-5 | 2
VM5-5G | 1
VM5-6MOV | 3
VM5-9FTRANS | 6
VM5-9S | 3
|  | Total | 0

## TABLES A & B
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE A. Unit Material Values of LCR Units Chargeable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 4 | 364.67 | 1458.68
G1.15.1.1 | 1 | 599.68 | 599.68
G1.15.1.2 | 2 | 778.03 | 1556.06
G1.25.1.1 | 1 | 639.54 | 639.54
VG1.15.1.1 | 4 | 912.15 | 3648.6
VG1.15.1.2 | 1 | 821.75 | 821.75
VG1.25.1.1 | 1 | 687.75 | 687.75
VG1.25.1.2 | 1 | 954.37 | 954.37
VG1.37.1.2 | 2 | 1155.57 | 2311.14
VG1.50.1.2 | 2 | 1373.19 | 2746.38
VG1.75.1.2 | 2 | 2391.89 | 4783.78
R1.4.3 | 1 | 2811.01 | 2811.01
Note: (Put Transformer, Recloser, Conductor and Big Salvageable items in this table with costs)
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE B. Values of Unit Material Items of Creditable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 4 | 364.67 | 1458.68
G1.15.1.1 | 1 | 599.68 | 599.68
G1.15.1.2 | 2 | 778.03 | 1556.06
G1.25.1.1 | 1 | 639.54 | 639.54
VG1.15.1.1 | 4 | 912.15 | 3648.6
VG1.15.1.2 | 1 | 821.75 | 821.75
VG1.25.1.1 | 1 | 687.75 | 687.75
VG1.25.1.2 | 1 | 954.37 | 954.37
VG1.37.1.2 | 2 | 1155.57 | 2311.14
VG1.50.1.2 | 2 | 1373.19 | 2746.38
VG1.75.1.2 | 2 | 2391.89 | 4783.78
R1.4.3 | 1 | 2811.01 | 2811.01
Note: (Generally is the same as Table A but could be different)

## Part UR
UNIT | KEC NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS (ft)* | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
UR 2-S (40” x 24”) | 10265 |  | 0 | 0 | 0 | 0
UR 2-R (40” x 12”) | 1965 |  | 0 | 0 | 0 | 0
UR2-RS |  |  | 0 | 0 | 0 | 0
UR5-P (40") |  |  | 0 | 0 | 0 | 0
UR7-B (2") | 235 |  | 0 | 0 | 0 | 0
UR7-B (3") |  |  | 0 | 0 | 0 | 0
TOTAL Part UR--Underground Excavation Construction Assembly Units | [5 empty] | 0
Contractor to provide 2 and 3 inch Red or Grey Poly Schedule 40 Conduit plus associated couplers for boring units in bid, see NEW CONST UNITS tab.

## Part LCN - Not Explicit
The following descriptioons apply only to those new units not sufficiently explicit:
Unit | Description
1/0-25KV | 1/0 AL, 260 MIL JACKETED POWER CABLE
1/O-35KV | 1/0 AL, 345 MIL JACKETED POWER CABLE
350 URD | 350 kCM AL TRIPLEX, 600 VOLT UNDERGROUND SERVICE CABLE
4/0 URD | 4/0 AL QUADROPLEXED, 600 VOLT UNDERGROUND SERVICE CABLE
1/0 TRI | SEC OVH CONDUCTOR 1/0 TRI
2 TRI | SEC OVH CONDUCTOR 2 TRI
4 TRI | SEC OVH CONDUCTOR 4 TRI
4ACSR | PRI OVH CONDUCTOR 4 ACSR
6HDC | N0. 6 HARD DRAWN COPPER WIRE
20-5 | TREATED WOOD POLE, 20 FOOT CLASS 5
25-6 | TREATED WOOD POLE, 25 FOOT CLASS 6
25-5 | TREATED WOOD POLE, 25 FOOT CLASS 5
30-5 | TREATED WOOD POLE, 30 FOOT CLASS 5
35-6 | TREATED WOOD POLE, 35 FOOT CLASS 6
35-5 | TREATED WOOD POLE, 35 FOOT CLASS 5
35-3 | TREATED WOOD POLE, 35 FOOT CLASS 3
40-5 | TREATED WOOD POLE, 40 FOOT CLASS 5
40-6 | TREATED WOOD POLE, 40 FOOT CLASS 6
45-5 | TREATED WOOD POLE, 45 FOOT CLASS 5
45-4 | TREATED WOOD POLE, 45 FOOT CLASS 4
55-4 | TREATED WOOD POLE, 55 FOOT CLASS 4
F20-CL-UG | FUSE, 20 AMP CURRENT LIMITING UG
PVC-2 | CONDUIT, 2 INCH PVC, SCHEDULE 40, GREY
PVC-2SWEEP | CONDUIT SWEEP, 2 INCH PVC, SCHEDULE 40, GREY
PVC-3 | CONDUIT, 3 INCH PVC, SCHEDULE 40, GREY
PVC-3SWEEP | CONDUIT SWEEP, 3 INCH PVC, SCHEDULE 40, GREY
G1.10.1.1 | Single Voltage 10kVA Pole Mount Transformer
G1.15.1.1 | Single Voltage 15kVA Pole Mount Transformer
G1.15.1.2 | Single Voltage 15kVA Pole Mount Transformer
VG1.15.1.1 | Dual Voltage 15kVA Pole Mount Transformer
VG1.15.1.2 | Dual Voltage 15kVA Pole Mount Transformer
VG1.25.1.1 | Dual Voltage 25kVA Pole Mount Transformer
VG1.25.1.2 | Dual Voltage 25kVA Pole Mount Transformer
VG1.37.1.2 | Dual Voltage 37kVA Pole Mount Transformer
VG1.50.1.2 | Dual Voltage 50kVA Pole Mount Transformer
VG1.75.1.2 | Dual Voltage 75kVA Pole Mount Transformer
VUG1.15.1.9 | Dual Voltage 15kVA Padmount Transformer
VUG1.25.1.9 | Dual Voltage 25kVA Padmount Transformer
VUG1.37.1.3 | Dual Voltage 37kVA Padmount Transformer
VUG1.50.1.3 | Dual Voltage 50kVA Padmount Transformer
VUG1.75.1.3 | Dual Voltage 75kVA Padmount Transformer
R1.4.3 | OCR 35AMP 15KV TYPE L

## NEW CONST UNITS
PART LCN --NEW CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
1/0 TRI | 696 |  |  | 0.85 | 0.85 | 591.6
1/0-25KV | 12613 |  |  | 2.24 | 2.24 | 28253.12
1/0-35KV | 65 |  |  | 3.68 | 3.68 | 239.2
2 TRI | 434 |  |  | 0.64 | 0.64 | 277.76
30-5 | 13 |  |  | 314.99 | 314.99 | 4094.87
35-5 | 1 |  |  | 400.3 | 400.3 | 400.3
350 URD | 1050 |  |  | 2.41 | 2.41 | 2530.5
4/0 URD | 270 |  |  | 1.51 | 1.51 | 407.7
E1-2 | 16 |  |  | 44.55 | 44.55 | 712.8
E3-10 | 16 |  |  | 6.15 | 6.15 | 98.4
F1-2P | 16 |  |  | 43.98 | 43.98 | 703.68
F20-CL-UG | 1 |  |  | 251 | 251 | 251
F7-1K | 6 |  |  | 55.12 | 55.12 | 330.72
J10 | 2 |  |  | 8.62 | 8.62 | 17.24
K11C | 28 |  |  | 8.39 | 8.39 | 234.92
M5-27 | 6 |  |  | 8.84 | 8.84 | 53.04
PVC-2 | 12150 |  |  | 0.73 | 0.73 | 8869.5
PVC-2SWEEP | 79 |  |  | 4.27 | 4.27 | 337.33
PVC-3 | 650 |  |  | 0.73 | 0.73 | 474.5
PVC-3SWEEP | 39 |  |  | 10.17 | 10.17 | 396.63
UG7 | 10 |  |  | 105.7 | 105.7 | 1057
UG7X | 11 |  |  | 123.13 | 123.13 | 1354.43
UJ2-4 | 57 |  |  | 7.88 | 7.88 | 449.16
UJ2-6 | 6 |  |  | 7.88 | 7.88 | 47.28
UK5LC | 1 |  |  | 237.37 | 237.37 | 237.37
UM-BOLLARD | 2 |  |  | 220 | 220 | 440
UM1-4 | 7 |  |  | 403.98 | 403.98 | 2827.86
UM1-7-1X | 9 |  |  | 242.13 | 242.13 | 2179.17
UM1-7-2 | 3 |  |  | 315.27 | 315.27 | 945.81
UM1-7NC | 7 |  |  | 333.87 | 333.87 | 2337.09
UM1-7NCX | 14 |  |  | 222.82 | 222.82 | 3119.48
UM3-14 | 1 |  |  | 535.49 | 535.49 | 535.49
UM3-14V | 3 |  |  | 682.9 | 682.9 | 2048.7
UM3-14X | 8 |  |  | 457.83 | 457.83 | 3662.64
UM5 | 18 |  |  | 93.9 | 93.9 | 1690.2
UM6-1 | 42 |  |  | 53.99 | 53.99 | 2267.58
UM6-10 | 23 |  |  | 36.55 | 36.55 | 840.65
UM6-28 | 1 |  |  | 10 | 10 | 10
UM6-4 | 32 |  |  | 194.44 | 194.44 | 6222.08
VUG1.15.1.9 | 5 |  |  | 1688.92 | 1688.92 | 8444.6
VUG1.25.1.9 | 5 |  |  | 1804.23 | 1804.23 | 9021.15
VUG1.37.1.3 | 6 |  |  | 1804.43 | 1804.43 | 10826.58
VUG1.50.1.3 | 4 |  |  | 1872.67 | 1872.67 | 7490.68
VUG1.75.1.3 | 1 |  |  | 2315.64 | 2315.64 | 2315.64
VUM6-2 | 1 |  |  | 554.6 | 554.6 | 554.6
VUM6-22 | 15 |  |  | 241.4 | 241.4 | 3621
123821.05

## SWPPP
STORMWATER POLLUTION PREVENTION PLAN (SWPPP)
Unit | Description | Unit Qty | Quantity | Labor | Materials | Labor & Materials | Extended Price
BMP-35 | Fiber Roll | 1 foot | 200 |  |  | 0 | 0
BMP-36 | Silt Fence | 1 foot | 200 |  |  | 0 | 0
SWPPP | Balance of SWPPP | 1 lot | 1 |  |  | 0 | 0
Total | [6 empty] | 0

## Owner Furnished Material
OWNER FURNISHED MATERIALS LIST
ITEM | DESCRIPTION | QTY | UNIT | PRICE EA | EXTENDED
20195 | BOLLARD | 2 | EA | 220 | 440
20350 | BOLT MACHINE 5/8" | 52 | EA | 1.04 | 51.14
20800 | BRACKET, STANDOFF W/STRAPS | 72 | EA | 16.5 | 1188
20900 | CLAMP, GROUND ROD | 33 | EA | 2.25 | 74.25
20950 | CLAMP, GUY BONDING | 16 | EA | 2.8 | 44.8
21050 | CLAMP, WEDGE TUBE | 28 | EA | 1.49 | 41.72
21210 | CLEVIS, THIMBLE | 16 | EA | 13 | 208
21250 | CONNECTOR, SECONDARY | 63 | EA | 7.88 | 496.44
21551 | DEADEND GUY (PREFORMED) | 32 | EA | 2.35 | 75.2
21800 | GUY GUARD | 16 | EA | 6.15 | 98.4
21902 | FUSE 20-AMP CURRENT LIMITING UG | 1 | EA | 251 | 251
22050 | INSULATOR, SPOOL | 30 | EA | 1.24 | 37.2
23000 | PVC-2 SWEEP 90Â° | 79 | EA | 4.27 | 337.33
23015 | PVC-3 SWEEP 90Â° | 39 | EA | 10.17 | 396.63
23195 | POLE TOP CAP | 6 | EA | 6 | 36
23800 | SCREW, LAG | 160 | EA | 0.75 | 120
23825 | SPLICE, PRIMARY | 1 | EA | 10 | 10
24417 | WASHERS, CURVED 3X3 | 58 | EA | 0.9 | 52.2
26150 | WIRE, JUMPERS | 652 | FT | 0 | 0
20100 | ANCHOR, PLATE 16" | 16 | EA | 20.81 | 332.96
20108 | ANCHOR, EXPANDING POLE KEY | 6 | EA | 55.12 | 330.72
21150 | CLEVIS, STATIONARY | 2 | EA | 5.44 | 10.88
21200 | CLEVIS, SWINGING | 28 | EA | 3.72 | 104.16
21500 | CULVERT (USED WITH PAD SHRUB/RR) | 14 | EA | 105.39 | 1475.46
21505 | CULVERT (LARGE SLEEVE-SHRUB) | 7 | EA | 333.87 | 2337.09
21510 | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) | 14 | EA | 117.43 | 1644.02
21530 | HILL SIDE BARRIER (ALL SIZES) | 7 | EA | 403.98 | 2827.86
21535 | GROUND SLEEVE (1-PH 200/600AMP MOD) | 9 | EA | 242.13 | 2179.17
21540 | GND SLEEVE V-PH 200AMP MOD | 3 | EA | 315.27 | 945.81
21650 | ELBOW | 74 | EA | 53.99 | 3995.26
21657 | ELBOW, FUSED 25kv | 1 | EA | 554.6 | 554.6
21670 | FAULT INDICATORS (URD-SMALL CORE) | 32 | EA | 194.44 | 6222.08
21710 | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) | 16 | EA | 7.95 | 127.2
22200 | INSULATED CAPS | 33 | EA | 36.55 | 1206.15
22265 | JUNCTION 4-POS 25KV 200AMP | 15 | EA | 241.4 | 3621
22800 | MODULE 1-PH 200AMP (OLD STYLE) | 1 | EA | 520.34 | 520.34
22802 | MODULE 1-PH 200/600AMP | 8 | EA | 442.68 | 3541.44
22805 | MODULE V-PH 200AMP | 3 | EA | 667.75 | 2003.25
23050 | PIPE, PVC | 13340 | FT | 0.73 | 9738.2
23360 | POLE 30-5 | 13 | EA | 314.99 | 4094.87
23410 | POLE 35-5 | 1 | EA | 400.3 | 400.3
23700 | ROD, ANCHOR PLATE | 16 | EA | 23.17 | 370.72
23750 | ROD, GROUND | 33 | EA | 12.9 | 425.7
24020 | SPLICE BOX -LG w/CONNECTORS (ABOVE GRD) | 1 | EA | 237.37 | 237.37
24600 | WIRE GUY 3/8" | 640 | FT | 0.34 | 217.6
24750 | WIRE 4/0 URD TRI | 270 | FT | 1.51 | 407.7
24760 | WIRE 350 URD TRI | 1050 | FT | 2.41 | 2530.5
25200 | WIRE 1/0 TRI (OVH) | 696 | FT | 0.85 | 591.6
25300 | WIRE #2 TRI (OVH) | 434 | FT | 0.64 | 277.76
26005 | WIRE 1/0 25KV 260ML URD | 12613 | FT | 2.24 | 28253.12
26010 | WIRE 1/0 35KV 345ML URD | 65 | FT | 3.68 | 239.2
5034 | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 | 5 | EA | 1688.92 | 8444.6
5069 | 37.5KVA DV 120/240 FUSED 1PH URD | 6 | EA | 1804.43 | 10826.58
5073 | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 | 5 | EA | 1804.23 | 9021.15
5086 | 50KVA DV 120/240 FUSED 1PH URD | 4 | EA | 1872.67 | 7490.68
5101 | 75KVA DV 120/240 S/L FUSED 1PH URD | 1 | EA | 2315.64 | 2315.64
123821.05

## CONSTRUCTION PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-07-15 |  | 13:22 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16507 | [7 empty] | Description: |  | Windy Bay Conversion |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 334 |  | Open Date: |  |  | 2016-10-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | CASEY WALTON |  | Rel By:
[7 empty] | Map Location: |  |  |  | 3M T48N-R5W-S36 |  | Rel Date:
Construction
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20195 | [6 empty] | BOLLARD |  |  | 2 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 52 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 72 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 33 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 16 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 28 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 16 | EA
E | * | 21250 | [6 empty] | CONNECTOR, SECONDARY |  |  | 63 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 32 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 16 | EA
E | * | 21902 | [6 empty] | FUSE 20-AMP CURRENT LIMITING UG |  |  | 1 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 30 | EA
E | * | 23000 | [6 empty] | PVC-2 SWEEP 90° |  |  | 79 | EA
E | * | 23015 | [6 empty] | PVC-3 SWEEP 90° |  |  | 39 | EA
E | * | 23195 | [6 empty] | POLE TOP CAP |  |  | 6 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 160 | EA
E | * | 23825 | [6 empty] | SPLICE, PRIMARY |  |  | 1 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 58 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 652 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 16 | EA
L | 20108 | [7 empty] | ANCHOR, EXPANDING POLE KEY |  |  | 6 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 2 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 28 | EA
L | 21500 | [7 empty] | CULVERT (USED WITH PAD SHRUB/RR) |  |  | 14 | EA
L | 21505 | [7 empty] | CULVERT (LARGE SLEEVE-SHRUB) |  |  | 7 | EA
L | 21510 | [7 empty] | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) |  |  | 14 | EA
L | 21530 | [7 empty] | HILL SIDE BARRIER (ALL SIZES) |  |  | 7 | EA
L | 21535 | [7 empty] | GROUND SLEEVE (1-PH 200/600AMP MOD) |  |  | 9 | EA
L | 21540 | [7 empty] | GND SLEEVE V-PH 200AMP MOD |  |  | 3 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 74 | EA
L | 21657 | [7 empty] | ELBOW, FUSED 25kv |  |  | 1 | EA
L | 21670 | [7 empty] | FAULT INDICATORS (URD-SMALL CORE) |  |  | 32 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 16 | EA
L | 22200 | [7 empty] | INSULATED CAPS |  |  | 33 | EA
L | 22265 | [7 empty] | JUNCTION 4-POS 25KV 200AMP |  |  | 15 | EA
L | 22800 | [7 empty] | MODULE 1-PH 200AMP (OLD STYLE) |  |  | 1 | EA
L | 22802 | [7 empty] | MODULE 1-PH 200/600AMP |  |  | 8 | EA
L | 22805 | [7 empty] | MODULE V-PH 200AMP |  |  | 3 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 13340 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 13 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 16 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 33 | EA
L | 24020 | [7 empty] | SPLICE BOX -LG w/CONNECTORS (ABOVE GRD) |  |  | 1 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 640 | EA
L | 24750 | [7 empty] | WIRE 4/0 URD TRI |  |  | 270 | EA
L | 24760 | [7 empty] | WIRE 350 URD TRI |  |  | 1050 | EA
L | 25200 | [7 empty] | WIRE 1/0 TRI (OVH) |  |  | 696 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 434 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 12613 | EA
L | 26010 | [7 empty] | WIRE 1/0 35KV 345ML URD |  |  | 65 | EA
S | 5034 | [7 empty] | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 5 | EA
S | 5069 | [7 empty] | 37.5KVA DV 120/240 FUSED 1PH URD |  |  | 6 | EA
S | 5073 | [7 empty] | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 5 | EA
S | 5086 | [7 empty] | 50KVA DV 120/240 FUSED 1PH URD |  |  | 4 | EA
S | 5101 | [7 empty] | 75KVA DV 120/240 S/L FUSED 1PH URD |  |  | 1 | EA
[10 empty] | Total Quantity For Construction: |  | 30838
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Construction | [7 empty] | 1/0 TRI - SEC. OVH CONDUCTOR, 1/0 TRI | [9 empty] | 696
[8 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 12613
[8 empty] | 1/0-35KV - PRI. UG CABLE, 1/0 STR-35KV | [9 empty] | 65
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 434
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 13
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 1
[8 empty] | 350 URD - SEC. UG CABLE, 350 TRI | [9 empty] | 1050
[8 empty] | 4/0 URD - SEC. UG CABLE, 4/0 TRI | [9 empty] | 270
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 16
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 16
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 16
[8 empty] | F20-CL-UG - FUSE 20-AMP CURRENT LIMITING UG | [9 empty] | 1
[8 empty] | F7-1K - POLE KEY ANCHOR ASSEMBLY | [9 empty] | 6
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 2
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 28
[8 empty] | M5-27 - POLE TOP CAP | [9 empty] | 6
[8 empty] | PVC-2 - PVC 2" | [9 empty] | 12150
[8 empty] | PVC-2SWEEP - PVC 2" SWEEP 90° | [9 empty] | 79
[8 empty] | PVC-3 - PVC 3" | [9 empty] | 650
[8 empty] | PVC-3SWEEP - PVC 3" SWEEP 90° | [9 empty] | 39
[8 empty] | TRENCHING - TRENCHING KEC CREW | [9 empty] | 10
[8 empty] | UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP | [9 empty] | 10
[8 empty] | UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS | [9 empty] | 11
[8 empty] | UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR | [9 empty] | 57
[8 empty] | UJ2-6 - SEC. CONNECTOR BLOCK | [9 empty] | 6
[8 empty] | UK5LC - SPLICE BOX LG/w connectors-ABOVE GROUND | [9 empty] | 1
[8 empty] | UM-BOLLARD - BOLLARD | [9 empty] | 2
[8 empty] | UM1-4 - HILL-SIDE BARRIER | [9 empty] | 7
[8 empty] | UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD | [9 empty] | 9
[8 empty] | UM1-7-2 - GROUND SLEEVE 2-PH 200AMP MOD | [9 empty] | 3
[8 empty] | UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large) | [9 empty] | 7
[8 empty] | UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR | [9 empty] | 14
[8 empty] | UM3-14 - 1-PH MODULE 200AMP | [9 empty] | 1
[8 empty] | UM3-14V - 2-PH MODULE 200AMP (V-PHASE) | [9 empty] | 3
[8 empty] | UM3-14X - 1-PH MODULE 200/600AMP (large cabinet) | [9 empty] | 8
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 18
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 42
[8 empty] | UM6-10 - INSULATED PROTECTIVE CAP (200 A) | [9 empty] | 23
[8 empty] | UM6-28 - PRIMARY SPLICE | [9 empty] | 1
[8 empty] | UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500 | [9 empty] | 32
[8 empty] | UR2-R - TRENCHING ROCK | [9 empty] | 1965
[8 empty] | UR2-S - TRENCHING SOIL | [9 empty] | 10265
[8 empty] | UR7-B2 - BORING 2" | [9 empty] | 235
[8 empty] | VUG1.15.1.9 - DV URD 15KVA 120/240 S/L FR3 | [9 empty] | 5
[8 empty] | VUG1.25.1.9 - DV URD 25KVA 120/240 S/L FR3 | [9 empty] | 5
[8 empty] | VUG1.37.1.3 - DV URD 37KVA 120/240 S/L | [9 empty] | 6
[8 empty] | VUG1.50.1.3 - DV URD 50KVA 120/240 S/L | [9 empty] | 4
[8 empty] | VUG1.75.1.3 - DV URD 75KVA 120/240 S/L | [9 empty] | 1
[8 empty] | VUM6-2 - PRI CBL TERM (FUSED ELBOW -25KV) | [9 empty] | 1
[8 empty] | VUM6-22 - JUNCTION 4-PO 200AMP 25KV | [9 empty] | 15

## Assembly Units
A1 - 7.2KV 1-PH SNGLE PRI SUPPRT
A1A - 7.2KV 1-PH SNGLE PRI SUPPRT
A3 - 7.2KV 1-PH PRI 20-60 ANGLE
A4 - 7.2KV 1-PH PRI 60-90 ANGLE
A8X - 7.2KV 1-PH X-ARM 5' DBLE DE
A9-1X - 7.2KV 1-PH X-ARM 5' SNGLE LINE
E1-1 - 7.2KV SERV DOWN GUY (FROG)
E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD)
E3-10 - GUY GUARD
F1-1P - LINE ANCHOR ASSEMBLY (PLATE)
F1-2P - PLATE ANCHOR 16"
F7-1K - POLE KEY ANCHOR ASSEMBLY
G1.4 - 7.2KV 1-PH TRANS CONV @ HORZ TANGENT
G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT
G106 - 7.2KV 1-PH TRNS CSP @ DEAD END
J10 - SEC ASSEMBLY (5 TO 60 DEGREE)
K10 - SERV ASSEMBLY
K11C - SERV ASSEMBLY
M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD
M2-12 - 7.2KV POLE PROTECT ASSY GRND BUTT PLATE
M5-15 - FIBERGLASS ARM 1-PHASE
M5-27 - POLE TOP CAP
M5-5 - PRI ASSEMBLY (INSUL & X-ARM PIN)
M5-6MOV - PRI ASSEMBLY (MOV ARRESTOR)
M5-9S - 7.2KV CUTOUT SOLID BLADE (RETIRE ONLY)
TRENCHING - TRENCHING KEC CREW
UA1 - 1-PH CBL TERM POLE--CUTOUT (no arm)
UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM
UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP
UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS
UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR
UJ2-6 - SEC. CONNECTOR BLOCK
UK5LC - SPLICE BOX LG/w connectors-ABOVE GROUND
UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD
UM1-7-2 - GROUND SLEEVE 2-PH 200AMP MOD
UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large)
UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR
UM3-14 - 1-PH MODULE 200AMP
UM3-14V - 2-PH MODULE 200AMP (V-PHASE)
UM3-14X - 1-PH MODULE 200/600AMP (large cabinet)
UM5 - SECONDARY RISER
UM6-1 - PRI. CABLE TERMINATION-LOADBREAK
UM6-10 - INSULATED PROTECTIVE CAP (200 A)
UM6-28 - PRIMARY SPLICE
UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500
UM-BOLLARD - BOLLARD
VA1 - 14.4KV PRI. 1-PH SNGLE PRI. SUPPRT
VA1A - 14.4KV 1-PH SNGLE PRI. SUPPRT
VA2 - 14.4KV 1-PH DBLE PRI. SUPPRT 5-30 ANGLE
VA3 - 14.4KV 1-PH 30-60 ANGLE
VA4 - 14.4KV 1-PH 60-90 ANGLE
VA5 - 14.4KV 1-PH D.E. (SNGLE)
VA5-1 - 14.4KV 1-PH TAP
VA5-3 - 14.4KV 1-PH TAP
VA5-4 - 14.4KV 1-PH TAP
VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE)
VA8 - 14.4KV 1-PH X-ARM D.E. (DBLE)
VA8X - 14.4KV 1-PH X-ARM (5')( D.E. (DBLE)
VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT
VA9-1X - 14.4KV 1-PH X-ARM (5') SNGLE LINE ARM
VA9X - 14.4KV 1-PH X-ARM (5')DBLE LINE ARM
VM5-10 - 14.4KV PRI ASSEMBLY
VM5-5 - 14.4KV PRI. ASSEMBLY
VM5-5G - PRI ASSEMBLY (14.4 INSULATOR ONLY)
VM5-6MOV - PRI ASSEMBLY (14.4 MOV ARRESTOR)
VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE
VM5-9S - 14.4KV CUTOUT, SOLID
VUM6-2 - PRI CBL TERM (FUSED ELBOW -25KV)
VUM6-22 - JUNCTION 4-PO 200AMP 25KV

## RETIRMENT PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-07-15 |  | 13:25 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16507 | [7 empty] | Description: |  | Windy Bay Conversion |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 334 |  | Open Date: |  |  | 2016-10-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | CASEY WALTON |  | Rel By:
[7 empty] | Map Location: |  |  |  | 3M T48N-R5W-S36 |  | Rel Date:
Retirement
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20200 | [6 empty] | BOLT, CARRIAGE |  |  | 36 | EA
E | * | 20250 | [6 empty] | BOLT D.A. 5/8" |  |  | 21 | EA
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 27 | EA
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 2 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 145 | EA
E | * | 20400 | [6 empty] | BOLT, UPSET |  |  | 8 | EA
E | * | 20750 | [6 empty] | BRACKET, NEUTRAL OFF |  |  | 2 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 28 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 19 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 23 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 16 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 15 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 4 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 25 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 46 | EA
E | * | 21552 | [6 empty] | CLAMP, SUSPENSION ANGLE |  |  | 1 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 25 | EA
E | * | 21664 | [6 empty] | GUY ATTACHMENT (FROG) |  |  | 19 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 10 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 62 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 2 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 2 | EA
E | * | 22750 | [6 empty] | NUTS, EYE 5/8" |  |  | 26 | EA
E | * | 23100 | [6 empty] | PLATE, GROUND BUTT |  |  | 3 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 79 | EA
E | * | 24400 | [6 empty] | WASHERS, SQUARE |  |  | 5 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 149 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 2 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 135 | EA
E | * | 24500 | [6 empty] | WIREHOLDER K-10 |  |  | 1 | EA
E | * | 25000 | [6 empty] | WIRE, 6 HDC |  |  | 12430 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 1631 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 18 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 6 | EA
L | 20550 | [7 empty] | BRACE CROSSARM 28" |  |  | 36 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 5 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 13 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 39 | EA
L | 21330 | [7 empty] | CROSSARM, 5' (WOOD) |  |  | 16 | EA
L | 21340 | [7 empty] | CROSSARM, 8' (WOOD) |  |  | 2 | EA
L | 21352 | [7 empty] | CROSSARM, 5' (COMPOSITE-TANGENT) |  |  | 1 | EA
L | 21400 | [7 empty] | CUTOUT/ARRESTOR COMBO |  |  | 1 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 12 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 4 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 18 | EA
L | 22000 | [7 empty] | INSULATOR, PIN TYPE 7.2 |  |  | 7 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 7 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 28 | EA
L | 22200 | [7 empty] | INSULATED CAPS |  |  | 1 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 18 | EA
L | 22950 | [7 empty] | PINS, POLE TOP |  |  | 13 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 210 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 3 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 7 | EA
L | 23430 | [7 empty] | POLE 35-3 |  |  | 1 | EA
L | 23460 | [7 empty] | POLE 40-5 |  |  | 8 | EA
L | 23510 | [7 empty] | POLE 45-5 |  |  | 1 | EA
L | 23515 | [7 empty] | POLE 45-4 |  |  | 1 | EA
L | 23610 | [7 empty] | POLE 55-4 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 18 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 19 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 2 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 1110 | EA
L | 25200 | [7 empty] | WIRE 1/0 TRI (OVH) |  |  | 651 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 949 | EA
L | 25310 | [7 empty] | WIRE #4 TRI (OVH) |  |  | 276 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 66 | EA
S | 5004 | [7 empty] | 10KVA 7.2 120/240 CSP 1PH OVH |  |  | 4 | EA
S | 5015 | [7 empty] | 15KVA 7.2 120/240 CSP 1PH OVH |  |  | 1 | EA
S | 5016 | [7 empty] | 15KVA 7.2 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5024 | [7 empty] | 15KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5035 | [7 empty] | 25KVA 7.2 120/240 CSP 1PH OVH |  |  | 1 | EA
S | 5043 | [7 empty] | 25KVA DV 120/240 CSP 1PH OVH |  |  | 1 | EA
S | 5044 | [7 empty] | 25KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5064 | [7 empty] | 37.5 DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5081 | [7 empty] | 50KVA DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5096 | [7 empty] | 75KVA DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 8009 | [7 empty] | OCR 35AMP 15KV L 1PH |  |  | 1 | EA
X | * | 5023-2 | [6 empty] | 15KVA DV 120/240 CSP 1PH OVH |  |  | 4 | EA
[10 empty] | Total Quantity For Retirement: |  | 18589
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Retirement | [7 empty] | 1/0 TRI - SEC. OVH CONDUCTOR, 1/0 TRI | [9 empty] | 651
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 949
[8 empty] | 20-5 - POLE, 20 FT CLASS 5 (RETIREMENT ONLY) | [9 empty] | 3
[8 empty] | 25-5 - POLE, 25 FT CLASS 5 (RETIRMENT ONLY) | [9 empty] | 1
[8 empty] | 25-6 - POLE, 25 FT CLASS 6 (RETIRMENT ONLY) | [9 empty] | 1
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 3
[8 empty] | 35-3 - POLE, 35 FT CLASS 3 | [9 empty] | 1
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 7
[8 empty] | 35-6 - POLE, 35 FT CLASS 6 (RETIREMENT ONLY) | [9 empty] | 2
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 66
[8 empty] | 4 TRI - SEC. OVH CONDUCTOR, 4 TRI | [9 empty] | 276
[8 empty] | 40-5 - POLE, 40 FT CLASS 5 | [9 empty] | 8
[8 empty] | 40-6 - POLE, 40 FT CLASS 6 (RETIREMENT ONLY) | [9 empty] | 2
[8 empty] | 45-4 - POLE, 45 FT CLASS 4 | [9 empty] | 1
[8 empty] | 45-5 - POLE, 45 FT CLASS 5 (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | 55-4 - POLE, 55 FT CLASS 4 | [9 empty] | 1
[8 empty] | 6HDC - PRI. OVH CONDUCTOR, 6HDC | [9 empty] | 12430
[8 empty] | A1 - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 3
[8 empty] | A1A - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 1
[8 empty] | A3 - 7.2KV 1-PH PRI 20-60 ANGLE | [9 empty] | 1
[8 empty] | A4 - 7.2KV 1-PH PRI 60-90 ANGLE | [9 empty] | 1
[8 empty] | A8X - 7.2KV 1-PH X-ARM 5' DBLE DE | [9 empty] | 3
[8 empty] | A9-1X - 7.2KV 1-PH X-ARM 5' SNGLE LINE | [9 empty] | 1
[8 empty] | E1-1 - 7.2KV SERV DOWN GUY (FROG) | [9 empty] | 19
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 4
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 10
[8 empty] | F1-1P - LINE ANCHOR ASSEMBLY (PLATE) | [9 empty] | 1
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 17
[8 empty] | G1.10.1.1 - 7200OVH 10KVA 120/240 CSP | [9 empty] | 4
[8 empty] | G1.15.1.1 - 7200OVH 15KVA 120/240 CSP | [9 empty] | 1
[8 empty] | G1.15.1.2 - 7200OVH 15KVA 120/240 D/B | [9 empty] | 2
[8 empty] | G1.25.1.1 - 7200OVH 25KVA 120/40 CSP | [9 empty] | 1
[8 empty] | G1.4 - 7.2KV 1-PH TRANS CONV @ HORZ TANGENT | [9 empty] | 1
[8 empty] | G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT | [9 empty] | 8
[8 empty] | G106 - 7.2KV 1-PH TRNS CSP @ DEAD END | [9 empty] | 1
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 9
[8 empty] | K10 - SERV ASSEMBLY | [9 empty] | 1
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 14
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 19
[8 empty] | M2-12 - 7.2KV POLE PROTECT ASSY GRND BUTT PLATE | [9 empty] | 3
[8 empty] | M5-15 - FIBERGLASS ARM 1-PHASE | [9 empty] | 4
[8 empty] | M5-5 - PRI ASSEMBLY (INSUL & X-ARM PIN) | [9 empty] | 2
[8 empty] | M5-6MOV - PRI ASSEMBLY (MOV ARRESTOR) | [9 empty] | 1
[8 empty] | M5-9S - 7.2KV CUTOUT SOLID BLADE (RETIRE ONLY) | [9 empty] | 1
[8 empty] | R1.4.3 - OCR 35AMP 15KV L | [9 empty] | 1
[8 empty] | UA1 - 1-PH CBL TERM POLE--CUTOUT (no arm) | [9 empty] | 1
[8 empty] | UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM | [9 empty] | 1
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 5
[8 empty] | UM6-10 - INSULATED PROTECTIVE CAP (200 A) | [9 empty] | 1
[8 empty] | VA1 - 14.4KV PRI. 1-PH SNGLE PRI. SUPPRT | [9 empty] | 5
[8 empty] | VA1A - 14.4KV 1-PH SNGLE PRI. SUPPRT | [9 empty] | 1
[8 empty] | VA2 - 14.4KV 1-PH DBLE PRI. SUPPRT 5-30 ANGLE | [9 empty] | 1
[8 empty] | VA3 - 14.4KV 1-PH 30-60 ANGLE | [9 empty] | 2
[8 empty] | VA4 - 14.4KV 1-PH 60-90 ANGLE | [9 empty] | 3
[8 empty] | VA5 - 14.4KV 1-PH D.E. (SNGLE) | [9 empty] | 2
[8 empty] | VA5-1 - 14.4KV 1-PH TAP | [9 empty] | 2
[8 empty] | VA5-3 - 14.4KV 1-PH TAP | [9 empty] | 1
[8 empty] | VA5-4 - 14.4KV 1-PH TAP | [9 empty] | 1
[8 empty] | VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE) | [9 empty] | 1
[8 empty] | VA8 - 14.4KV 1-PH X-ARM D.E. (DBLE) | [9 empty] | 1
[8 empty] | VA8X - 14.4KV 1-PH X-ARM (5')( D.E. (DBLE) | [9 empty] | 1
[8 empty] | VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT | [9 empty] | 1
[8 empty] | VA9-1X - 14.4KV 1-PH X-ARM (5') SNGLE LINE ARM | [9 empty] | 3
[8 empty] | VA9X - 14.4KV 1-PH X-ARM (5')DBLE LINE ARM | [9 empty] | 1
[8 empty] | VG1.15.1.1 - DV OVH 15KVA 120/240 CSP | [9 empty] | 4
[8 empty] | VG1.15.1.2 - DV OVH 15KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VG1.25.1.1 - DV OVH 25KVA 120/240 CSP | [9 empty] | 1
[8 empty] | VG1.25.1.2 - DV OVH 25KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VG1.37.1.2 - DV OVH 37KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.50.1.2 - DV OVH 50KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.75.1.2 - DV OVH 75KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VM5-10 - 14.4KV PRI ASSEMBLY | [9 empty] | 1
[8 empty] | VM5-5 - 14.4KV PRI. ASSEMBLY | [9 empty] | 2
[8 empty] | VM5-5G - PRI ASSEMBLY (14.4 INSULATOR ONLY) | [9 empty] | 1
[8 empty] | VM5-6MOV - PRI ASSEMBLY (14.4 MOV ARRESTOR) | [9 empty] | 3
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 6
[8 empty] | VM5-9S - 14.4KV CUTOUT, SOLID | [9 empty] | 3